Produced by AEA on behalf of South Holland District Council

SOUTH HOLLAND WESTMERE SCHOOL

01 January to 31 December 2009

These data have been fully ratified by AEA

| POLLUTANT | NOX | NO | NO2 | O3 | PM10*+ |
| --- | --- | --- | --- | --- | --- |
| Number Very High | - | - | 0 | 0 | 0 |
| Number High | - | - | 0 | 0 | 0 |
| Number Moderate | - | - | 0 | 170 | 0 |
| Number Low | - | - | 8401 | 8073 | 8601 |
| Maximum 15-minute mean | 304 µg m-3 | 103 µg m-3 | 178 µg m-3 | 134 µg m-3 | 384 µg m-3 |
| Maximum hourly mean | 244 µg m-3 | 73 µg m-3 | 176 µg m-3 | 126 µg m-3 | 282 µg m-3 |
| Maximum running 8-hour mean | 175 µg m-3 | 49 µg m-3 | 130 µg m-3 | 114 µg m-3 | 83 µg m-3 |
| Maximum running 24-hour mean | 138 µg m-3 | 34 µg m-3 | 86 µg m-3 | 102 µg m-3 | 43 µg m-3 |
| Maximum daily mean | 99 µg m-3 | 21 µg m-3 | 72 µg m-3 | 99 µg m-3 | 39 µg m-3 |
| Average | 23 µg m-3 | 3 µg m-3 | 18 µg m-3 | 47 µg m-3 | 16 µg m-3 |
| Data capture | 95.9 % | 95.9 % | 95.9 % | 92.6 % | 97.6 % |

+ PM10 as measured by a TEOM with a factor of 1.3 applied to give Indicative Gravimetric Equivalent concentrations.

All gaseous pollutant mass units are at 20'C and 1013mb. Particulate matter concentrations are reported at ambient temperature and pressure.

NOX mass units are NOX as NO2 µg m-3

| Pollutant | Air Quality (England) Regulations 2000 and (Amendment) Regulations 2002 | Exceedences | Days |
| --- | --- | --- | --- |
| Nitrogen Dioxide | Annual mean > 40 µg m-3 | 0 | - |
| Nitrogen Dioxide | Hourly mean > 200 µg m-3 | 0 | 0 |
| Ozone | Running 8-hour mean > 100 µg m-3 | 61 | 13 |
| PM10 Particulate Matter (Gravimetric) | Daily mean > 50 µg m-3 | 0 | 0 |
| PM10 Particulate Matter (Gravimetric) | Annual mean > 40 µg m-3 | 0 | - |

Note: For a strict comparison against the objectives there must be a data capture of >90% throughout the calendar year

Produced by AEA on behalf of South Holland District Council

South Holland Westmere School

Hourly Mean Data for 01 January to 31 December 2009

Date Created: 21/01/2013