Produced by AEA on behalf of South Holland District Council

SOUTH HOLLAND WESTMERE SCHOOL

01 January to 31 December 2010

These data have been fully ratified by AEA

| POLLUTANT | NOX | NO | NO2 | O3 | PM10*+ |
| --- | --- | --- | --- | --- | --- |
| Number Very High | - | - | 0 | 0 | 0 |
| Number High | - | - | 0 | 0 | 0 |
| Number Moderate | - | - | 0 | 111 | 0 |
| Number Low | - | - | 6119 | 7491 | 7658 |
| Maximum 15-minute mean | 390 µg m-3 | 178 µg m-3 | 246 µg m-3 | 162 µg m-3 | 374 µg m-3 |
| Maximum hourly mean | 304 µg m-3 | 126 µg m-3 | 246 µg m-3 | 162 µg m-3 | 256 µg m-3 |
| Maximum running 8-hour mean | 237 µg m-3 | 92 µg m-3 | 205 µg m-3 | 151 µg m-3 | 119 µg m-3 |
| Maximum running 24-hour mean | 219 µg m-3 | 83 µg m-3 | 116 µg m-3 | 115 µg m-3 | 50 µg m-3 |
| Maximum daily mean | 204 µg m-3 | 72 µg m-3 | 114 µg m-3 | 105 µg m-3 | 46 µg m-3 |
| 99.8th percentile of hourly means | - | - | 157 µg m-3 | - | - |
| 90th percentile of daily means | - | - | - | - | 24 µg m-3 |
| Average | 29 µg m-3 | 5 µg m-3 | 22 µg m-3 | 46 µg m-3 | 17 µg m-3 |
| Data capture | 69.9 % | 69.9 % | 69.9 % | 86.0 % | 87.3 % |

+ PM10 as measured by a TEOM with a factor of 1.3 applied to give Indicative Gravimetric Equivalent concentrations.

All gaseous pollutant mass units are at 20'C and 1013mb. Particulate matter concentrations are reported at ambient temperature and pressure.

NOX mass units are NOX as NO2 µg m-3

| Pollutant | Air Quality (England) Regulations 2000 and (Amendment) Regulations 2002 | Exceedences | Days |
| --- | --- | --- | --- |
| Nitrogen Dioxide | Annual mean > 40 µg m-3 | 0 | - |
| Nitrogen Dioxide | Hourly mean > 200 µg m-3 | 8 | 2 |
| Ozone | Running 8-hour mean > 100 µg m-3 | 45 | 10 |
| PM10 Particulate Matter (Gravimetric) | Daily mean > 50 µg m-3 | 0 | 0 |
| PM10 Particulate Matter (Gravimetric) | Annual mean > 40 µg m-3 | 0 | - |

Note: For a strict comparison against the objectives there must be a data capture of >90% throughout the calendar year

Produced by AEA on behalf of South Holland District Council

South Holland Westmere School

Hourly Mean Data for 01 January to 31 December 2010

Date Created: 21/01/2013